## Document Control
Document ID | HLX-02
Title | Helix technical compliance schedule
Version | 1.0
Date | 2026-08-27
Issuer | Helix Test Infrastructure
Status | submitted
Case notice | Fictional training case; all people, organisations, products, rules and events are invented.

## Technical
Row | Requirement | V60 response
T-01 | Per-run positions | 60
T-02 | Temperature range, °C | −40 to 125
T-03 | Load range, N | 0 to 500
T-04 | Electrical bias, V | 0 to 24
T-05 | Raw export | CSV and JSON, local
T-06 | Training places | 8

## Source Map Notes
Block locator | Type | Content | Source / fact references
HLX-02 T1 | table | Row ¦ Requirement ¦ V60 response T-01 ¦ Per-run positions ¦ 60 T-02 ¦ Temperature range, °C ¦ −40 to 125 T-03 ¦ Load range, N ¦ 0 to 500 T-04 ¦ Electrical bias, V ¦ 0 to 24 T-05 ¦ Raw export ¦ CSV and JSON, local without hosted subscription T-06 ¦ Training ¦ Eight staff on site
HLX-02 §3 | heading | Configuration and measurement record
HLX-02 §3.1 | paragraph | The V60 groups positions into monitored banks while retaining a single run identifier and synchronised event clock. Its larger delivered chamber is intended to absorb repeat runs and mixed cohort scheduling without a hardware change. The controller exposes raw channel histories and event logs for local export in the required formats.
HLX-02 §3.2 | paragraph | The position count in row T-01 is a simultaneous capacity for the delivered Vector Encabulator V60; it does not aggregate separate runs. Each active position is associated with a channel identifier in the exported record. The controller associates setpoints, readings and event timestamps with a run so the laboratory can compare specimens under the same programmed conditions.
HLX-02 §4 | heading | Export and verification
HLX-02 §4.1 | paragraph | CSV and JSON exports can be saved to the Institute's local storage without an ongoing hosted account. The supplier will provide a field guide covering timestamp format, units, channel identifiers, event codes and file naming. During SAT, a sample file and an event log will be produced from the installed configuration and reconciled with selected values displayed by the controller.
HLX-02 §5 | heading | Test record conventions
HLX-02 §5.1 | paragraph | For the delivered V60, each specimen position is given a channel identifier before a controlled run starts. The operator records the run identifier, specimen mapping and selected profile, then reviews any warnings before release. Helix's banked-channel controller records actual readings separately from programmed setpoints so the research team can distinguish a prescribed condition from a measured response. The 60-position count is the installed simultaneous configuration described in row T-01.
HLX-02 §5.2 | paragraph | At acceptance, a representative run should exercise the installed higher-capacity chamber, export a raw file and verify that the event record can be linked back to a position and timestamp. The operator guide should show which fields identify units, profile state, alarms and missing observations. A derivative chart or summary report may help interpretation, but the retained CSV or JSON source remains the laboratory's reproducible research record.